## Summary
Element
2 | Management & Administration | 0
3 | Labour & Welfare | 0
4 | Standards & Workmanship | 0
5 | Scope of Works | 36500
6 | Completion | 0
7 | Contingency | 3650
| TOTAL FOR THE WORKS | 40150
| Confimation of OH&P on Provisional Sums: | %
Dayworks
The Contractor is to state their labour rates for the following operatives, including all overheads on an hourly basis for: -
0.1 | Carpenter: | 0 | /hour
0.2 | Mason: | 0 | /hour
0.3 | Labourer: | 0 | /hour
0.4 | Electrician: | 0 | /hour
0.5 | Plumber: | 0 | /hour
0.6 | Rendering/Plastering: | 0 | /hour
0.7 | Decorator: | 0 | /hour
0.8 | Roofer: | 0 | /hour
0.9 | %age profit on plant and materials: |  | %

## Breakdown
|  | Quantity |  | Rate | Total
2 | Management & Administration
2.01 | Generally | 1 | Item |  | 0
2.02 | Liaison | 1 | Item |  | 0
2.03 | Conditions Specific to Contract | 1 | Item |  | 0
2.04 | Materials - British Standards | 1 | Item |  | 0
2.05 | Proprietary Articles | 1 | Item |  | 0
2.06 | Variation Orders | 1 | Item |  | 0
2.07 | Daywork | 1 | Item |  | 0
2.08 | Site Supervisor | 1 | Item |  | 0
2.09 | CDM Notices | 1 | Item |  | 0
2.1 | Building Regulations | 1 | Item |  | 0
2.11 | Discharge of Conditions | 1 | Item |  | 0
2.12 | Licences | 1 | Item |  | 0
2.13 | Infrastructure Charges | 1 | Item |  | 0
2.14 | Services | 1 | Item |  | 0
2.15 | Electric | 1 | Item |  | 0
2.16 | Plumbing Work | 1 | Item |  | 0
2.17 | Protection | 1 | Item |  | 0
2.18 | Lighting | 1 | Item |  | 0
2.19 | Fences & Cordoning Off | 1 | Item |  | 0
2.2 | Notices | 1 | Item |  | 0
2.21 | Shoring & Strutting/Other Temporary Works | 1 | Item |  | 0
2.22 | Scaffold | 1 | Item |  | 0
2.23 | Temporary Building | 1 | Item |  | 0
2.24 | Temporary Sanitary Accommodation | 1 | Item |  | 0
2.25 | Telephone | 1 | Item |  | 0
2.26 | First Aid & Emergency | 1 | Item |  | 0
2.27 | Noise | 1 | Item |  | 0
2.28 | Nuisance Generally | 1 | Item |  | 0
2.29 | Waste/Waste Management Plan | 1 | Item |  | 0
2.3 | Traffic Management | 1 | Item |  | 0
2.31 | Weather Protection | 1 | Item |  | 0
2.32 | Drying Out | 1 | Item |  | 0
2.33 | Testing | 1 | Item |  | 0
2.34 | Cleaning | 1 | Item |  | 0
2.35 | Handover | 1 | Item |  | 0
2.36 | Health & Safety, Operation, & Maintenance Files | 1 | Item |  | 0
2.37 | Visit the Site | 1 | Item |  | 0
2.38 | Incidental Work Costs | 1 | Item |  | 0
2.39 | Credits | 1 | Item |  | 0
2.4 | Historic Fabric & Archaeology | 1 | Item |  | 0
0
3 | Labour & Welfare | 1 | Item |  | 0
3.01 | Insurances | 1 | Item |  | 0
3.02 | Safety, Health, & Welfare | 1 | Item |  | 0
3.03 | Safety Equipment | 1 | Item |  | 0
3.04 | Harnesses | 1 | Item |  | 0
3.05 | Lifting | 1 | Item |  | 0
3.06 | Medical Training | 1 | Item |  | 0
3.07 | Smoking | 1 | Item |  | 0
3.08 | Blow Lamps & Hot Works | 1 | Item |  | 0
3.09 | Chemicals | 1 | Item |  | 0
3.1 | Storage | 1 | Item |  | 0
3.11 | Protection | 1 | Item |  | 0
3.12 | Visitors | 1 | Item |  | 0
3.13 | Security | 1 | Item |  | 0
3.14 | Overtime | 1 | Item |  | 0
3.15 | Welfare | 1 | Item |  | 0
3.16 | Continuing Liaison | 1 | Item |  | 0
3.17 | Rehabilitation of ex offenders | 1 | Item |  | 0
3.18 | Tenderer's Obligations | 1 | Item |  | 0
0
4 | Standards & Workmanship | 1 | Item |  | 0
4.01 | Mortar Mixes | 1 | Item |  | 0
4.02 | Pointing Mix | 1 | Item |  | 0
4.03 | Aggregates | 1 | Item |  | 0
4.04 | Wall Plaster | 1 | Item |  | 0
4.05 | Lime | 1 | Item |  | 0
4.06 | Air Entrainers, Waterproofers, Colourants, Salt Inhibitors | 1 | Item |  | 0
4.07 | Gauging | 1 | Item |  | 0
4.08 | Limewash | 1 | Item |  | 0
4.09 | Timber | 1 | Item |  | 0
4.1 | Masonry | 1 | Item |  | 0
4.11 | Description Of Materials & Workmanship | 1 | Item |  | 0
0
5 | Scope of Works |  |  |  | 0
5.01 | The contractor is to allow for all necessary welfare, administration and storage facilities. | 1 | Item |  | 0
5.02 | Ancient Monument Protection | 1 | Item |  | 0
5.03 | Allow for scaffolding as required to access areas of the building in line with the works. Undertake in full accordance with all necessary codes of practice and regulations and in accordance with the standards section of this specification. | 1 | Item |  | 0
5.04 | The contractor is to allow for all necessary temporary support and propping as required to undertake the works. If required structural engineer should design propping and support. | 1 | Item |  | 0
5.05 | Allow for hacking off the existing stucco and giving time for the walls to dry out before re-rendering. Include for requirement for preparation of method statement for discharge of LBC consent and make allowance for this process including determination period within the tendered programme. | 1 | Item |  | 0
5.06 | The cement stucco on the north facade to be stripped and replaced and the vegetation growing out of the walls removed. Any structural defects as a result of the vegetation to be addressed. | 1 | Item |  | 0
5.07 | Remove cement render and allow to dry out. Seal with sand and cement. | 1 | Item |  | 0
5.08 | Check guttering and repair / replace where necessary with heritage cast iron rainwater goods. | 1 | Item |  | 0
5.09 | Windows & Doors
5.09.1 | To South Hall wall above Pottery | 1 | Item |  | 0
5.09.2 | Windows to East Façade | 1 | Item |  | 0
5.09.3 | Rooflight to Library | 1 | Item |  | 0
5.09.4 | Provisional Sum of £15,000 for any additional repairs or replacements to windows | 1 | PS | 15000 | 15000
5.1 | Repair work to be undertaken to the roof. Broken or missing tiles will be replaced like for like. (Condition survey has been undertaken and is appended to this brief.) | 1 | Item |  | 0
5.10.1 | Replace any damaged/slipped/missing slates with Cornish slate on a like for like basis.
5.10.2 | Rake out and repoint any open joints to ridges and hips, in lime mortar. Reset the ridge tile to the far south of the roof to reduce the bedding gap.
5.10.3 | Redecorate existing timber fascia.
5.10.4 | Replace any damaged/slipped/missing slates with Cornish slate on a like for like basis.
5.10.5 | Rake out and repoint any open joints to ridges and hips, in lime mortar.
5.10.6 | The roof to the east end runs to the coping to the pediment. On the north side this runs to a crude mortar fillet which is showing signs of cracking and deterioration. It is unclear if there is lead weathering under. This needs to be accessed, removed and more appropriate lead weathering provided to resist water ingress. There is evidence of water running down into the covered porch below in this location.
5.10.7 | On the south side a lead upstand has been provided with a small cover onto the coping. Due to the construction of the pediment coping it is not possible to provide a lead tray. Slightly more cover onto the coping would be beneficial to ensure the weathering here is sound. Repeat detail to north side.
5.10.8 | Redecorate existing timber fascia.
5.10.9 | Contractor to inspect and confirm that lead weathering detail has been satisfactorily completed to the north gable on the west side.
5.10.10 | Contractor to review ridges to check that open joints against R5 hip have been repointed.
5.10.11 | Replace any damaged/slipped/missing slates with Cornish slate on a like for like basis.
5.10.12 | Provisionally price to replace non slate areas in Cornish slate on a like for like basis. It is the intention to undertake this work if there is sufficient headroom within the budget.
5.10.13 | Rake out and repoint any open joints to ridges and hips, in lime mortar.
5.10.14 | Replace any damaged/slipped/missing slates with Cornish slate on a like for like basis.
5.10.15 | Rake out and repoint any open joints to ridges and hips, in lime mortar.
5.10.16 | There is no lead to the upstand of the copings. A mortar fillet weathers the abutment. This is cracking and will be allowing moisture to track down beyond the slate line, subject to the presence of any lead in this area. This needs to be addressed and improved and the option for a secret gutter in this location should be investigated.
5.10.17 | There is no lead evident on the north side against the building. Soakers and cover flashings should be provided to weather the interface between wall and roof subject to wider works on the rendered surface
5.10.18 | Provisionally price to replace non slate areas in Cornish slate on a like for like basis. It is the intention to undertake this work if there is sufficient headroom within the budget.
5.10.19 | Replace any damaged/slipped/missing slates with Cornish slate on a like for like basis.
5.10.20 | Note rooflight replacement in 5.09.
5.10.21 | Review all roofline parapets and copings. Allow for raking out and repointing of all parapets and copings with the exception of the new pottery.
5.10.22 | Lead valley between R5 and main hall wall – clear and make repairs if required.
5.10.23 | R5 north side to parapet – redress lead capping to parapet to ensure lead is tightly secured to joints.
5.11 | Cement render on existing chimneys to be removed and replaced with breathable lime render. Chimney structures to be repaired or rebuilt as necessary. Main contractor to liaise with Ductzilla, the contractor installing the ventilation system, on the utilisation of the two chimneys above the main hall as conduits for the ducting. | 1 | Item |  | 0
5.12 | The walls and portico will be re-pointed in hydraulic lime using fine sand to match existing. All cement from the area will be removed. | 1 | Item |  | 0
5.13 | Strip, repair and repaint existing railings. Where broken, missing or irreparable they will be replaced like for like. Remove existing gate and replace with one which matches the railings. Remove railings as shown in red on the plan. Install railings to match (reuse removed railings if possible) as shown in green on the plan. | 1 | Item |  | 0
5.14 | The handrail and the existing signage to the front entrance are to be removed. | 1 | Item |  | 0
5.15 | The access slope to the right hand side of the portico to be removed to restore the symmetry of the entrance and allow easier access to the garden area and Celtic Cross. | 1 | Item |  | 0
5.16 | Pattressing under portico and preparation of method statement in order to comply with LBC; allow a Provisional Sum of £1,500 inclusive of OH&P | 1 | PS | 1500 | 1500
5.17 | Pebbledash on east elevation | 1 | Item |  | 0
5.18 | External Lighting | 1 | Item |  | 0
5.19 | Exterior Signage | 1 | PS | 5000 | 5000
5.2 | Sculpture Garden - £15,000 Provisional Sum | 1 | PS | 15000 | 15000
0
6 | Completion |  |  |  | 0
6.1 | Allow here for completion costs | 1 | Item |  | 0
7 | Contingency
7.1 | Alow here for 10% contingency on the whole works costs. | 10% |  | 36500 | 3650
| TOTAL FOR THE WORKS |  |  |  | 36500